## EXTERNAL WORK
BILL OF QUANTITIES PROPOSED EXTERNAL WORK
ITEM | DESCRICPTION | UNIT | QTY | RATE ($) | AMOUNT ($)
PERIMETER FENCE
Fence comprisses 150mm thick wall rendered and painted
externaly and internaly, 200mm x 200mm concrete columns
interval of 3.0m and 3m high from finishes ground level.
and a retaining wall concrete slab roof entrance.
1 | EXCAVATION AND EARTHWORKS
1.1 | Excavate pit to receive bases of column (43no.); starting
| at striplevel; maximum depth not exceeding 1000mm | m3 | 45 |  | 0
1.2 | Ditto to trenches starting at strip level; post maximum
| depth not exceeding 750m, foundation width not exceeding | m3 | 46 | 0 | 0
450mm.
1.4 | Extra over excavation for Rocky Soil or any other |  |  | Item | 0
hard materials
FILLING & DISPOSING
1.5 | Backfill and well ram selected excavated materials
| around foundations | m3 | 70 |  | 0
1.6 | Dispose surplus excavated materials of site. | m3 | 21 |  | 0
SURFACE TREATMENT
1.7 | Level and compact bottom of excavations | m2 | 90 |  | 0
2 | The total volumn of concrete in this section is
approximately m3
Plain In - situ Concrete
2.1 | 50mm thick concrete (1:5:10) blinding in footing | m3 | 2 |  | 0
Plain insitu concrete (1:3:6) in foundation trenches
2.2 | not exceeding 225mm maximum thickness | m3 | 13 |  | 0
Vibrated reinforced in-situ concrete (1:2:4-12mm
aggregates) well packed around reinforcements in
formwork in:
Columns
2.3 | Isolated Column Bases (42no.), 200mm thick. | m3 | 14 |  | 0
2.4 | Column not exceeding 0.05m2 | m3 | 15 | 0 | 0
Oversite beam
2.6 | 200mm thick x 300mm deep | m3 | 4 | 0 | 0
Copping
2.7 | Copping 80mm thick | m3 | 3 | 0 | 0
| To Collection |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE ($) | AMOUNT ($)
REINFORCEMENT
High tensile steel reinforcement bar to B.S 4449 including
cutting, bending and fixing into position in reinforced
concrete in:
Columns
2.9 | 12mm diameter bars column bases | kg | 481 |  | 0
2.1 | 16mm diameter bars in sub-column | kg | 1505 | 0 | 0
2.12 | 8mm diameter bars as stirrups in Column | kg | 407 | 0 | 0
Oversite Beam
2.13 | 16mm diameter bars in beam | kg | 271 | 0 | 0
2.14 | 8mm diameter bars as stirrups in Column | kg | 52 | 0 | 0
Copping
2.16 | 6mm diameter bars in copping, 150mm centre/centre | kg | 175 | 0 | 0
FORMWORK
Sawn form work to provide rough finish to:
2.17 | Vertical Sides of Square Sub-Column | m2 | 187 |  | 0
2.18 | Edges of Sub-Column Bases exceeding 300mm thick. | m2 | 32 | 0 | 0
2.2 | Side of beams | m2 | 28 | 0 | 0
2.21 | Side and soffit copping | m2 | 29 | 0 | 0
BLOCK WORK
Solid Sandcrete blockwork laid in strecher bonds with
cement and sand mortar ( mix 1: 6) as described in:
2.22 | 200mm thick | m2 | 440 |  | 0
IN-SITU FINISHINGS
2.23 | 12mm thick cement and sand (1:6mix) rendering on
| blockwall and columns. | m2 | 1026 |  | 0
2.24 | 3 coats of high quality wheather shield paint to rendered
| surfaces externally | m2 | 1026 |  | 0
Metal Work
Concertina barb wire on "Y" shaped angle bars
2.25 | on fence wall. (measured separately) | m | 97 |  | 0
"Y" shaped angle bars embedded in concrete
2.26 | copping. | nr | 43 |  | 0
2.27 | Embedded in concrete beam/welded to beam reinforcement
| vertical height 3m, 300mm embeded in concrete beam | m | 323 |  | 0
RHS 25mm x 50mm x 3mm in interval of 250mm
Gates
Allow a provisional sum 3000mm wide x 2500mm high
2.28 | swing gate t | nr | 3 |  | 0
2.29 | 1200mm x 2100mm high pedestrian swing gate | NR | 1 |  | 0
| To Collection |  |  |  | 0
COLLECTIONS
| Page 2 |  |  |  | 0
| Page 3 |  |  |  | 0
FENCE
| Carried to Summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE ($) | AMOUNT ($)
2 | ANCILLARY WORKS
| Excavate top soil, 150mm depth and keep for client reuse. | m2 | 813 |  | 0
Site Filling
2.1 | 200mm thick hardcore for site filling | m2 | 416 |  | 0
2.2 | Levelled and compact with river sand to receive interlocking | m2 | 416 |  | 0
stones, 25mm - 50mm thick.
PAVEMENT OF THE COMPOUND
Damp Proof Membrane
One layers of ''Visqueen'' or similar Polythene; 1000mm
2.3 | guage membrane laid on hardcore over blockwall and | m2 | 416 |  | 0
lapped 150mm at sides and ends.
Wire Mesh
Fabric mesh reinforcement to BS 4483 with ref. no.
2.4 | A142 weighing 2.221kg/m2 in concrete bed 150mm | kg | 924 | 0 | 0
minimum end and side laps.
Mass Concrete
2.5 | 150mm thick mass reinforce concrete, 1:3:6 mix, to slop | m2 | 62 |  | 0
to direction as instructed by the project supervisor.
Drainage
Allow a provisional sum "U" Shape drainage system along the road of 100mm
2.6 | wide (including the thickness of the walls of the drain) |  |  | sum
x 700mm deep and place on drainage precast concrete cover
0f 1000mm x 600mm x 150mm thick
Kerb
2.9 | 150mm x 400mm precast concrete kerbs | m | 8 |  | 0
HORTICULTURAL WORKS
Supply and spread humus soil to receive plants, grass,
2.1 | and flowers 100mm maximum thickness | m3 | 10 |  | 0
Supply and plant the following flowers on 100mm
thick humus soil from certified horticulturist as
specified by the Architect
2.11 | Low flowering Shrubs | nr | 11 |  | 0
3 | SOLAR LIGHT FOR THE COMPOUND
ILLUMININATION
Provides for security stand alone 50 watts light system
mounted on a 75mmdia 6 m hight post including
3.1 | controller, battery and panel , of 12 hours per day when
| fully charged with inergrated battry and light sensor, | nr | 6 |  | 0
ip 65 , dia cas alluminium body.This in include Steel poles
for panels and Ligthts. MODULAR STREET LIGHTS
Test and commission installation with
3.2 | and Engineers specification |  |  | Sum
4 | Galvinized steel bollard
100mm diameter galvinized steel bollard filled with
4.1 | concrete 1:3:6 mix 1.2m high and 800m buried in the ground
| including a concrete base of 400mm x 400mm x 200mm thick | nr | 5 |  | 0
ANCILLARY WORKS
| Carried to Summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE ($) | AMOUNT ($)
BOREHOLES
1 | Drill bore hole to a dept of about minimum 200meters and install,
electric water proof,
| a sub- mersible pump include 5,5kw pump | 1 | items |  | 0
The scope include drill well to aquifa level and case
same with HDPE INDUSTRIAL standard well and
materials.
2 | Connect bole hole water to the over head pvc water tanks
| with all necessary pipes and accessories 2 | 1 | items |  | 0
3 | Carry out a PH level test on water and get a
| certification from standard bureae | 1 | items |  | 0
NOTES
4 | Water level musts serve the facility all year
BOREHOLE
| Carried to Summary |  |  |  | 0
SUMMARY
| FENCE |  |  |  | 0
| ANCILLARY WORKS |  |  |  | 0
| BOREHOLE |  |  |  | 0
| TOTAL |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE ($) | AMOUNT ($)
1 | OTHER WORK
Provisional Sum
Allow a provisional sum for construction construction of
1.2 | generator base and shield, overal size 2m x 1.8m x 2.6m high using |  |  | sum
screen block, columns and beams, the roof will b linto roof.
1.3 | Allow a provisional sum for constructing a watertank
| tower 2000mm x 2000mm x 6000mm high, 150mm thick slab |  |  | sum
300mm x 300mm columns size and provide 5000 litres water
tank, metal guard at edge of the slab and metal ladder by side,
emmbeded in the concrete columns and beams
OTHER WORK
| Carried to Summary |  |  |  | 0

## MAIN BANK BUIDLING
PROPOSED KONO BRANCH (FULL BUNGALOW)
AT
OLD YENGEMA ROAD, KONO
FOR
UNITED BANK FOR AFRICA (SL) LTD
ITEM | DESCRICPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
SUBSTRUCTURE
GROUND FLOOR
EXCAVATION AND EARTHWORKS
A | Excavate pit to receive bases of column (28no.); starting
| at striplevel; maximum depth not exceeding 1200mm | m3 | 34 |  | 0
B | Ditto to trenches starting at strip level; post maximum
| depth not exceeding 900m, foundation width not exceeding | m3 | 89 | 0 | 0
450mm.
C | Excavate pit for vault, starting from strip level
| post maximum depth not exceeding 1200m. | m3 | 25 | 0 | 0
D | Extra over excavation for Rocky Soil or any other |  |  | Item | 0
hard materials
Earthwork support
E | Earthwork support for vault pit, trenches and columns pit. | m3 | 449 |  | 0
FILLING & DISPOSING
F | Backfill and well ram selected excavated materials
| around foundations | m3 | 92 |  | 0
G | Dispose surplus excavated materials of site. | m3 | 68 |  | 0
| Filling the vault with river sand and compact to receive | m3 | 9 |  | 0
H | hardcores
J | 150mm thick filling to make up levels with latterite
| avearage depth consolidated in layer of 100mm to receive | m3 | 46 |  | 0
hardcore.
200mm thick Hardcore filling to make up levels
K | deposited and floor consolidated in layer of 100mm | m3 | 62 |  | 0
to receive concrete bed.
SURFACE TREATMENT
L | Level and compact bottom of excavations | m2 | 154 |  | 0
M | Blind Surface of hardcore; sand;minimum 50mm thick | m2 | 308 |  | 0
Apply anti-termite Treatment Solution to Sides &
N | Buttom of trench and Pits | m2 | 595 |  | 0
DAMP PROOF MEMBRANE
One layers of ''Visqueen'' or similar Polythene; 1000mm
O | guage membrane laid on hardcore over blockwall and | m2 | 354 |  | 0
lapped 150mm at sides and ends.
| To Collection |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
The total volumn of concrete in this section is
approximately m3
Plain In - situ Concrete
A | 75mm thick concrete (1:3:6) blinding in footing | m3 | 4 |  | 0
Plain insitu concrete (1:3:6) in foundation trenches
B | not exceeding 225mm maximum thickness | m3 | 24 | 0 | 0
C | Ramp and steps | m3 | 2 | 0 | 0
Vibrated reinforced in-situ concrete (1:2:4-12mm
aggregates) well packed around reinforcements in
formwork in:
D | Ground floor bed, 150mm thick. And | m3 | 53 |  | 0
150mm thick for ground floor
Columns
E | Isolated Column Bases (27no.), 300mm thick. And | m3 | 8 | 0 | 0
300mm for ground floor.
F | Columns size 200mm x 200mm & 200mm x 450mm | m3 | 2 | 0 | 0
Vault wall
G | Base, 300mm thick | m3 | 6 | 0 | 0
H | Wall, 300mm thick. | m3 | 5 | 0 | 0
WIRE MESH
Fabric mesh reinforcement to BS 4483 with ref. no.
J | A142 weighing 2.221kg/m2 in concrete bed 150mm | kg | 786 |  | 0
minimum end and side laps.
REINFORCEMENT
High tensile steel reinforcement bar to B.S 4449 including cutting, bending and fixing into position in reinforced concrete in:
Columns
K | 12mm diameter bars column bases | kg | 286 | 0 | 0
L | 12mm diameter bars in sub-column | kg | 264 | 0 | 0
M | 8mm diameter bars as stirrups in Column | kg | 68 | 0 | 0
Vault wall
N | 16mm diameter bars in base. | kg | 332 | 0 | 0
O | 12mm diameter bars in sub- Vault wall. | kg | 475 | 0 | 0
FORMWORK
Sawn form work to provide rough finish to:
P | Vertical Sides of Square Sub-Column | m2 | 29 |  | 0
Q | Edges of Sub-Column Bases exceeding 300mm thick. | m2 | 34 | 0 | 0
R | Edges of vault wall Bases not exceeding 300mm thick. | m2 | 6 | 0 | 0
S | Sides of vault wall. | m2 | 33 | 0 | 0
T | Edges of floor slab 100mm thick | m | 81 | 0 | 0
U | Edges of Riser not exceeding 150mm high | m | 25 | 0 | 0
| To Collection |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
BLOCK WORK
Solid Sandcrete blockwork laid in strecher bonds with
cement and sand mortar ( mix 1: 4) as described in:
A | 200mm thick | m2 | 221 |  | 0
IN-SITU FINISHINGS
B | Cement sand rendering to wall up to plinth level of
| 500mm high. | m2 | 30 |  | 0
C | Prepare and apply two mastic undercoat and two finishing
| coat wheather proof emulsion paint: | m2 | 30 |  | 0
Water Proofing
Apply 2-coat of texcote bitumetric paint
D | Ditto external and internal side of vault wall | m2 | 42 |  | 0
DAMP PROOF MEMBRANE
One layers of ''Visqueen'' or similar Polythene; 1000mm
E | guage membrane laid on vault wall and | m2 | 26 |  | 0
lapped 150mm at sides and ends.
| To Collection |  |  |  | 0
COLLECTIONS
| Page 2 |  |  |  | 0
| Page 3 |  |  |  | 0
| Page 4 |  |  |  | 0
SUBSTRUCTURE
| Carried to Summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
FRAME
The total volumn of concrete in this section is
approximately m3
Vibrated reinforced in-situ concrete (1:2:4-20mm
aggregates) well packed around reinforcements in
formwork in:
A | Column of cross sectional area not exceeding | m3 | 3 | 0 | 0
0.04m2
B | Beams and roof beams | m3 | 11 | 0 | 0
C | Parapet Wall/copping | m3 | 13 | 0 | 0
D | Lintel | m3 | 2 | 0 | 0
REINFORCEMENTS
High tensile steel bar reinforcement to BS 4449 in
straight and bent length including tying wires,
hooks and ordinary spacers: ( provisional )
Columns
E | 12mm diameter bars in column | kg | 358 | 0 | 0
F | 8mm diameter bars as stirups in columns | kg | 134 | 0 | 0
Beams
G | 16mm diameter bars in beams | kg | 1136 | 0 | 0
J | 8mm diameter bars as stirups in beams | kg | 285 | 0 | 0
Parapet Wall
K | 10mm diameter bars in beams | kg | 786 | 0 | 0
Lintels
L | 12mm diameter bars in roof beams | kg | 185 | 0 | 0
M | 6mm diameter bars as stirups in lintel | kg | 50 | 0 | 0
WIRE MESH
Fabric mesh reinforcement to BS 4483 with ref. no.
N | A142 weighing 2.221kg/m2 in concrete bed 150mm | kg | 49 | 0 | 0
minimum end and side laps.
FORMWORK
Basic finish formwork to:
O | Vertical sides of square column | m2 | 81 | 0 | 0
P | Sides and soffit of beams | m2 | 232 | 0 | 0
Q | Side of parapet wall/ copping | m2 | 177 | 0 | 0
R | Sides and soffit of lintels. | m2 | 29 | 0 | 0
FRAME:
| Carried to Summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
WALLS
External and Internal wall
Load and Non Load-Bearing Wall
Solid Sand crete block wall bedded and jointed in
cement and sand mortar laid in stretcher bond
as described in:
Non load Bearing Walls
A | 150mm thick block wall | m2 | 420 |  | 0
Vault
Vibrated reinforced in-situ concrete (1:2:4-20mm
aggregates) well packed around reinforcements in
formwork in:
B | Vault wall 300mm thick | m3 | 14 | 0 | 0
REINFORCEMENTS
High tensile steel bar reinforcement to BS 4449 in
straight and bent length including tying wires,
hooks and ordinary spacers:
C | 12mm diameter bars in roof beams | kg | 954 | 0 | 0
FORMWORK
D | Basic finish formwork to vertical side of wall | m2 | 91 | 0 | 0
FRAMELESS PARTITIONING
"QUARTZ" frameless toughened glass partitioning systerm
10mm thick single glazing, including all fittings and
E | accessories as partioning,and with blind | m2 | 63 |  | 0
| WALLS: carried to summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
ROOF AND ROOF COVERAGE
Roof slab
The total volumn of concrete in this section is
approximately m3
Vibrated reinforced in-situ concrete (1:2:4-12mm
aggregates) well packed around reinforcements in
formwork in:
A | Suspended Slab not exceeding 150mm thick
| Ref: (First and Second Floor) | m3 | 4 | 0 | 0
Reinforcements
High tensile steel bar reinforcement to BS 4449 in
straight and bent length including tying wires,
hooks and ordinary spacers: ( provisional )
B | 12mm diameter bars in suspended slab | kg | 360 | 0 | 0
Formwork
Basic finish formwork to:
C | Egdes of slab not exceeding 150mm high. | m | 22 | 0 | 0
D | Soffits of slabs (Ref: first floor) | m2 | 30 | 0 | 0
#REF!
#REF!
Fabricated Steel Work
Mild steel roof truss comprising 50mm x 150mm x 4mm RHS as
top and bottom boom, 50 x 50 x 4mm RHS as diagonal
struts and vertical struts and 2Nr 200 x 300 x 4mm steel
plate with 4No 20mm, holes all welded together and
ground to a smooth finish including pre-painted with
anti-corrosive oxide and hoisted into position,bolted and
nuts to concrete beams/beams, avearage span .
E | 21300mm long x 1100mm high | nr | 17 |  | 0
F | 11970mm long x 1100mm high | nr | 1 |  | 0
Steel Gusset plate
G | 6mm thick gusset plate 200mm x 300mm size plate | m2 | 9.18 |  | 0
with 4No 16mm holes.
Holding down bolts
H | 16mm Diameter holding down bolts complete with nuts | Nr | 144 |  | 0
and washers.
Approved 45mm Coloured long span Aluminium roofing
sheets or any other similar and approved roofing sheet
J | as accepted by the Client and fix to the timber truss Purline | m2 | 348 |  | 0
nails and washer.
supervision of the project Architect/Manager/Supervisor approval
K | Ditto roof flash 400mm wide. | M | 74 | 0 | 0
ROOF AND ROOF COVERINGS:-
| Carried to Summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
DOORS AND WINDOWS
Steel Plated Doors
1-Leaf, 2mm thick plates, standard section
mild steel, side hung, single swing security door,
comprising 2mm thick M.S plates both side, 50mm x 50mm
R.H.S as frames, with steel door locks and
A | hydraulic self closer overall sizes: | NR | 7 |  | 0
900mm x 2400mm (Ref. D2)
Roller Shutter Door
B | Steel roller shutter doors, | nr | 1 |  | 0
overall size 2500mm x 2400mm high (Ref: D6)
Flush Door
MTL, solid flush doors with hydraulic self closer,
Architrave, frames (strong wood), including 3 number
brass butt hinges brushed steel handle and 6 turn yale
steel lock or similar single leaf-single swing door
C | 1200mm x 2400mm high. (See Door Schedule D1) | Nr | 9 |  | 0
D | 750mm x 2400mm high. (See Door Schedule D3) | Nr | 4 |  | 0
E | 1200mm x 2400mm high. (See Door Schedule D4) | Nr | 2 | 0 | 0
Frameless glass hinged door with handles, including
f | all necesary fittings 900mm x 2400mm high (Ref: D5) | Nr | 3 |  | 0
WINDOWS
ALUMINIUM SLIDING WINDOW
Supply and fix aluminium slidding windows complete
with natural anodized Aluminium frame, in 6mm thick
reflective glazing, mosquito net slide including cutting
and pinning to concrete or blockwork, in accordance with the
manufactural fixing details overall sizes:
F | 3150mm x 1200mm high (See Door Schedule W1) | Nr | 1 |  | 0
G | 1800mm x 1200mm high (See Door Schedule W2) | Nr | 2 |  | 0
G | 1200mm x 1200mm high (See Door Schedule W3) | Nr | 1 |  | 0
J | 600mm x 600mm high (See Door Schedule W4) | Nr | 4 |  | 0
Metal Guard Bars
Mild steel guard bars comprising 20mm solid 200mm centre
to centre runs vertical and 16mm 250mm centre to centre
horizontal
J | 3150mm x 1200mm high | Nr | 1 |  | 0
K | 1800mm x 1200mm high | Nr | 2 |  | 0
L | 1200mm x 1200mm high | Nr | 1 |  | 0
M | 600mm x 600mm high | Nr | 4 |  | 0
DOORS AND WINDOWS :
| Carried to summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
FINISHES
The following are internally, unless otherwise
stated:
Wall Plastering and Rendering
Internal Wall
A | 12mm thick cement and sand (1:4mix) rendering on | m2 | 817 |  | 0
blockwall, columns and beams.
B | Ditto to Reveal not exceeding 300mm girth | m | 69 | 0 | 0
Floor finishings
Glazed porcelain tiles
600mm x 600mm x 8mm thick glazed ceramic floor
tiles laid on cement sand screeded bed (1:6) measured
C | seperately. | m2 | 327 |  | 0
D | Ditto, non slip floor tile | m2 | 18 | 0 | 0
E | 100mm high matching glaze porcelian tiles skirtings | m | 253 | 0 | 0
Cement Sand Screeded Bed
F | 32mm thick cement and sand (1:4mix) screeded bed. | m2 | 370 |  | 0
to receive floor tiles tiles
Ceramic wall tiles
300mm x 600mm x 6mm thick white ceramic glazed tiles tiles
G | wall tiles fixed with matching colour cement slurry | m2 | 106 |  | 0
(Ref: Toilets )
H | Reveal not less than 200mm wide | m | 59 | 0 | 0
Cement Sand Screeded Backings
J | 12mm thick cement and sand (1:4mix) screeded
| bed to receive wall tiles | m2 | 106 |  | 0
K | Reveal not less than 200mm wide | m | 59 | 0 | 0
| To Collection |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
Ceiling finishings
Acoustic Ceiling
600 x 600mm X 10mm thick Acoustic/Armstrong
or equally approved Suspended ceiling including steel
A | angers and all necessary accessories | m2 | 301 |  | 0
over 300 wide
B | 12mm thick cement and sand (1:6mix) rendering on | m | 22 | 0 | 0
on soffit of slab
Painting and Decorating
Prepare and apply two undercoat and two finishing
coat emulsional paint on:
C | Rendered surfaces of internal wall | m2 | 817 |  | 0
D | Reveal not exceeding 350mm girth | m | 69 | 0 | 0
E | Soffit gysum board, using mastic as first coat | m2 | 22 | 0 | 0
External Finishings
F | 15mm thick cement and sand (1:6mix) rendering on | m2 | 233 | 0 | 0
blockwall, columns and beams.
Painting and Decorating
Prepare and apply two mastic undercoat and two finishing
coat wheather proof emulsion paint:
G | Rendered surfaces of wall | m2 | 233 |  | 0
Aluco bond Wall Cladding
4mm thick preformed aluminium composite panel
H | cladding system (Aluco-bond) to Manufacturer | m2 | 50 |  | 0
fixing details.
| To Collection |  |  |  | 0
COLLECTIONS
| Page 12 |  |  |  | 0
| Page 13 |  |  |  | 0
FINISHES :
| Carried to Summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
FITTINGS AND FIXTURE
Allow a provisional sum for constructing a concrete cashier
A | counter two (2) numbers, 4960mm long x 1000mm wide |  |  | Sum
x 1000mm high with mable top, and mable tile at front and
partition by aluminium.
B | Allow a provisional sum for providing a one number |  |  | sum
writing ledge
C | Allow provisional to provide and install Signboard |  |  | Sum
D | Provide flower pot | nr | 2 |  | 0
Railing,
E | fabricated metal railing in according to project Architect
| instruction. | m | 10 |  | 0
FITTINGS AND FIXTURE
| Carried to Summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
PLUMBING AND MECHANICAL INSTALLATION
SANITARY APPLIANCES
Suppy, assemble and fix the following:
White vitreous jaguar, low level WC suit comprising
pan with P-trap and heavy duty black seat and cover,
A | 9mm litre capacity cistern complete with all | Nr | 4 |  | 0
accessories.
B | Wash hand basin 520mm x 450mm with pedestal, faucet
| and screwing to concrete floor | Nr | 3 |  | 0
Nuovo dualflow tochfree infared hand dryer
C | (Product Code : HDR-SLV-AK2030) or any product | Nr | 3 |  | 0
as approved by architect.
D | 600mm long x 600mm wide silver floated mirror fixed | Nr | 3 |  | 0
with chromium plated dome headed screws to wall.
E | Wall mounted jaquar (push button) soap dispenser. | Nr | 3 |  | 0
capacity 0.8litre, ( Product Code SDR-WHT-DJOO1OFN)
F | Chromium plated toilet roll holder | Nr | 4 |  | 0
G | Stainless Floor drain, Toilet | Nr | 4 |  | 0
H | Allow the provisional sum for pipe |  |  | Sum
( soil and cold water pipes) fittings,and associated work
in plumbing installation
J | Allow a provisional for drainage of rain water from roof |  |  | sum
20mm diameter pipes for A/C water drainage concealed in
K | in the wall and floor, including all fittings and accessories | m | 52 |  | 0
Sundries
Marking the positions of holes, mortices, chases and the
L | like, cutting away in the structure complete with making |  |  | sum
good after for cold water installation
PLUMBING AND MECHANICAL INSTALLATION
| :Carried to Summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
ELECTRICAL INSTALLATION
Lighting Installation
Supply and install electrical "first Fix" for the
following generally in a conceled plastic/ galvaized conduit,
fittings includes chaseing , casting building in
conduits and sleeves through floors, walls and
ceiling plugged for fixing conduites and fitting including
P V C junction boxes, P V C boxex 3'' x 3''(3''x 6'')
A | Round LED ceiling embedded light | nr | 18 |  | 0
B | 600 x 600mm LED ceilin embedded light | nr | 56 | 0 | 0
C | Exit light | nr | 3 | 0 | 0
D | 10A 1way 1gang light switch | nr | 21 | 0 | 0
Supply and install electrical "Second Fix" for the
following generally in a conceled plastic conduit,
fittings includes chaseing , casting building in
conduits and sleeves through floors, walls and
ceiling plugged for fixing conduites and fitting
E | 1.5 MMX 2 C + EARTH sheated PVC/PVC Copper cable
F | Round LED ceiling embedded light | nr | 18 |  | 0
G | 600 x 600mm LED ceilin embedded light | nr | 56 | 0 | 0
H | Exit light | nr | 3 | 0 | 0
J | 10A 1way 1gang light switch | nr | 21 | 0 | 0
Third Fix, Fittings and Fixtures
K | Round ceiling light recess fitings completes as per drawing spec |  | 18 |  | 0
L | 600x600 mm ceiling mounted LED lights fittings |  | 56 |  | 0
M | 10A 1way 1gang light switch | nr | 21 |  | 0
N | Emgerncey lampswith 6 hours of discharge compelet | nr | 3 |  | 0
Power Installation
Supply and install electrical "first Fix" for the
following generally in a conceled plastic/ galvaized conduit,
fittings includes chaseing , casting building in
conduits and sleeves through floors, walls and
ceiling plugged for fixing conduites and fitting including
P V C junction boxes, P V C boxex 3'' x 3''(3''x 6'')
O | 13A two (2) gang switch socket outlet | nr | 33 |  | 0
P | 15A air condition Switch | nr | 11 | 0 | 0
Q | Internet port | nr | 14 | 0 | 0
R | Video port | nr | 3 | 0 | 0
S | Allow a provisional sum for CCTV port |  |  | sum
| To Collection |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
Supply and install electrical "Second Fix" for the
following generally in a conceled plastic conduit,
fittings includes chaseing , casting building in
conduits and sleeves through floors, walls and
ceiling plugged for fixing conduites and fitting
2.5 MMX 2 C + EARTH sheated PVC/PVC Copper cable
A | 13A two (2) gang switch socket outlet | nr | 33 |  | 0
Ditto 4.0 MMX 2 C + EARTH sheated PVC/PVC
B | Copper cable for air conditions | nr | 11 |  | 0
Power 'Third Fix'
C | 13A two (2) gang switch socket outlet | nr | 33 |  | 0
D | 15A air condition Switch | nr | 11 |  | 0
Air Conditioners
Walll mounted cooling systerm with outside hot pots
LG inverter air condition, wall mounted split-type units
with all wiring, pipes and mounting accessories;
E | 9,000 BTU |  | 7 |  | 0
F | 12,000 BTU |  | 4 |  | 0
ELECTRICAL EQUIPMENTS
G | 24 ways distribution board with 63A SPN | nr | 1 |  | 0
Feed Cable
H | 25 MMX 4 C + EARTH PVC/SWA/PVC Copper cable |  |  | Sum
Earthing
J | Allow a provisional sum for earting the building |  |  | sum
Sundries
Marking the positions of holes, mortices, chases and the
K | like, cutting away in the structure complete with making |  |  | item
good after for electrical installation
Fire Alarm
Allow a provisional sum for providing and installing fire
M | alarm systerm in the building as specified by the project |  |  | sum
architect
| To Collection |  |  |  | 0
COLLECTIONS
| Page | 13 |  |  | 0
| Page | 14 |  |  | 0
ELECTRICAL INSTALLATION
| :Carried to Summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
BRANDING
A | Outdoor Pylon 5M Pylon - long shelf life Unifol diecut vinyl
in correct UBA pantone, franchise decals, 15,000hrs LED
| lighting and 4mm acrylic substrates Fabrication and | nr | 1 |  | 0
installation as brand guidelines specify.
B | Teller Counter Branding | nr | 1 |  | 0
C | ATM Signage & 24/7 3D sign | nr | 2 |  | 0
Back Cladding (HDF) - with illuminated UBA 3D Logo
D | brand specification) | nr | 1 |  | 0
Exterior illuminated 3D logo signage as per brand
E | specification (on top RHS façade and 15,000hrs lighting longevity) | nr | 1 |  | 0
Ceiling Hangings as per brand specification -
F | (Cosign brand – 100% aluminum) --25 year warranty. | nr | 6 |  | 0
4mm acrylic and quality decals for signs
Door Labeling (As per brand specification) –
G | Implemented with aluminum shop kits and vinyl on | nr | 23 |  | 0
4mm acrylic substrates
Melting Pot branding (including wall motif and ambient,
H | and excluding table and chairs) | nr | 1 |  | 0
J | Electricals for all branding related works |  |  | sum
K | Privide and errect Flag Poles,. | nr | 3 |  | 0
L | Parking directions | nr | 6 |  | 0
M | Stop and go sign for security | nr | 4 |  | 0
BRANDING
| Carried to Summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
EXTERNAL WORKS
SEPTIC TANK
Construct septic tank/soakaway pit size 3000 x 22500 x 200mm
deep in 225mm blockwalls bedded in cement mortar
(1:4) with and including 225mm thick plain in-situ
concrete base and 1:2:4 - 19mm aggregate reinforced
A | concrete cover slab inclusive of formwork and | Nr | 1 |  | 0
reinforcement thickness of slab is 150mm thick.
MANHOLES
Allow for the construction of manholes size
B | 600mm x 600mm x 600mm deep with 150mm | Nr | 4 |  | 0
blockwall including concrete bed haunching and
100mm thick precast reinforced cover slab
C | Include the Provisional Sum of |  |  | Sum
for soil drain pipes to septic tank/soakaway pits and
chambers
| EXTERNAL WORKS Carried to summary |  |  |  | 0
BILLS OF QUANTITIES FOR PROPOSED KONO BRANCH (FULL BUNGALOW) |  |  |  |  | AMOUNT ($)
SITUATED AT OLD YENGEMA ROAD, KONO |  |  |  |  | USD
SUMMARY
SUMMARY
| SUBSTRUCTURE |  |  |  | 0
| FRAME |  |  |  | 0
| WALLS |  |  |  | 0
| ROOF |  |  |  | 0
| DOORS AND WINDOWS |  |  |  | 0
| FINISHES |  |  |  | 0
| FITTINGS & FIXTURES |  |  |  | 0
PLUMBING & MECHANICAL
| INSTALLATION |  |  |  | 0
| ELECTRICAL INSTALLATIONS |  |  |  | 0
| BRANDING |  |  |  | 0
| EXTERNAL WORKS |  |  |  | 0
| TOTAL |  |  |  | 0

## GATE HOUSE
ITEM | DESCRICPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
SUBSTRUCTURE
GROUND FLOOR
EXCAVATION AND EARTHWORKS
A | Excavate pit to receive bases of column (4no.); starting
| at striplevel; maximum depth not exceeding 1000mm | m3 | 8 | 0 | 0
B | Ditto to trenches starting at strip level; post maximum
| depth not exceeding 750m, foundation width not exceeding | m3 | 4 | 0 | 0
450mm.
B | Excavate pit for vault, starting from strip level
| Extra over excavation for Rocky Soil or any other |  |  | Item | 0
hard materials
Earthwork support
C | Earthwork support for vault pit, trenches and columns pit. | m3 | 53 | 0 | 0
FILLING & DISPOSING
D | Backfill and well ram selected excavated materials
| around foundations | m3 | 9 | 0 | 0
E | Dispose surplus excavated materials of site. | m3 | 3 | 0 | 0
| Filling with river sand and compact to receive | m3 | 9 | 0 | 0
F | hardcores
G | 150mm thick filling to make up levels with latterite
| avearage depth consolidated in layer of 100mm to receive | m3 | 1 | 0 | 0
hardcore.
200mm thick Hardcore filling to make up levels
H | deposited and floor consolidated in layer of 100mm | m3 | 1 | 0 | 0
to receive concrete bed.
SURFACE TREATMENT
J | Level and compact bottom of excavations | m2 | 11 | 0 | 0
K | Blind Surface of hardcore; sand;minimum 50mm thick | m2 | 5 | 0 | 0
Apply anti-termite Treatment Solution to Sides &
L | Buttom of trench and Pits | m2 | 64 | 0 | 0
DAMP PROOF MEMBRANE
One layers of ''Visqueen'' or similar Polythene; 1000mm
M | guage membrane laid on hardcore over blockwall and | m2 | 7 | 0 | 0
lapped 150mm at sides and ends.
| To Collection |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
The total volumn of concrete in this section is
approximately m3
Plain In - situ Concrete
A | 75mm thick concrete (1:3:6) blinding in footing | m3 | 1 | 0 | 0
Plain insitu concrete (1:3:6) in foundation trenches
B | not exceeding 225mm maximum thickness | m3 | 1 | 0 | 0
C | Ramp and steps | m3 | 1 | 0 | 0
Vibrated reinforced in-situ concrete (1:2:4-12mm
aggregates) well packed around reinforcements in
formwork in:
D | Ground floor bed, 150mm thick. And | m3 | 1 | 0 | 0
150mm thick for ground floor
Columns
E | Isolated Column Bases (30no.), 300mm thick. And | m3 | 2 | 0 | 0
300mm for ground floor.
WIRE MESH
Fabric mesh reinforcement to BS 4483 with ref. no.
F | A142 weighing 2.221kg/m2 in concrete bed 150mm | kg | 16 | 0 | 0
minimum end and side laps.
REINFORCEMENT
High tensile steel reinforcement bar to B.S 4449 including cutting, bending and fixing into position in reinforced concrete in:
Columns
G | 12mm diameter bars column bases | kg | 75 | 0 | 0
H | 12mm diameter bars in sub-column | kg | 93 | 0 | 0
J | 8mm diameter bars as stirrups in Column | kg | 17 | 0 | 0
FORMWORK
Sawn form work to provide rough finish to:
K | Vertical Sides of Square Sub-Column | m2 | 16 | 0 | 0
L | Edges of Sub-Column Bases exceeding 300mm thick. | m2 | 36 | 0 | 0
M | Edges of floor slab 100mm thick | m | 17 | 0 | 0
| To Collection |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
BLOCK WORK
Solid Sandcrete blockwork laid in strecher bonds with
cement and sand mortar ( mix 1: 6) as described in:
A | 150mm thick | m2 | 18 |  | 0
IN-SITU FINISHINGS
B | Cement sand rendering to wall up to plinth level of
| 500mm high. | m2 | 5 | 0 | 0
C | Prepare and apply two mastic undercoat and two finishing
| coat wheather proof emulsion paint: | m2 | 5 |  | 0
| To Collection |  |  |  | 0
COLLECTIONS
| Page 2 |  |  |  | 0
| Page 3 |  |  |  | 0
| Page 4 |  |  |  | 0
SUBSTRUCTURE
| Carried to Summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
FRAME
The total volumn of concrete in this section is
approximately m3
Vibrated reinforced in-situ concrete (1:2:4-20mm
aggregates) well packed around reinforcements in
formwork in:
A | Column, beam, and lintel | m3 | 1 | 0 | 0
REINFORCEMENTS
High tensile steel bar reinforcement to BS 4449 in
straight and bent length including tying wires,
hooks and ordinary spacers: ( provisional )
Columns
B | 12mm diameter bars in column | kg | 64 | 0 | 0
C | 8mm diameter bars as stirups in columns | kg | 16 | 0 | 0
Beams
D | 12mm diameter bars in beams | kg | 41 | 0 | 0
E | 6mm diameter bars as stirups in beams | kg | 16 | 0 | 0
F | 6mm diameter bars as stirups in lintel | kg | 2 | 0 | 0
FORMWORK
Basic finish formwork to:
G | Vertical sides of square column | m2 | 7 | 0 | 0
H | Sides and soffit of beams | m2 | 4 | 0 | 0
J | Sides and soffit of lintels. | m2 | 1 | 0 | 0
FRAME:
| Carried to Summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
WALLS
External and Internal wall
Load and Non Load-Bearing Wall
Solid Sand crete block wall bedded and jointed in
cement and sand mortar laid in stretcher bond
as described in:
Non load Bearing Walls
A | 1500mm thick block wall | m2 | 15 | 0 | 0
| WALLS: carried to summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
ROOF AND ROOF COVERAGE
Roof slab
The total volumn of concrete in this section is
approximately m3
Vibrated reinforced in-situ concrete (1:2:4-12mm
aggregates) well packed vibrated with poker vibrator
around reinforcements in formwork in:
A | Suspended Slab not exceeding 150mm thick
| Ref: (First and Second Floor) | m3 | 1 |  | 0
Reinforcements
High tensile steel bar reinforcement to BS 4449 in
straight and bent length including tying wires,
hooks and ordinary spacers: ( provisional )
B | 12mm diameter bars in suspended slab | kg | 92 | 0 | 0
Formwork
Basic finish formwork to:
C | Egdes of slab not exceeding 150mm high. | m | 10 | 0 | 0
D | Soffits of slabs (Ref: first floor) | m2 | 5 | 0 | 0
#REF!
#REF!
Water Proofing
2-coat of texcote bitumetric paint to receive Xtra-seal
diamond self adhesive 1.5mm thick imprevious heat applied
membrane all inclusive;
| Roof gutter, including the the internal side of the parapet wall | m2 | 7 |  | 0
ROOF AND ROOF COVERINGS:-
| Carried to Summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
DOORS AND WINDOWS
Steel Plated Doors
2mm thick plates, standard section mild steel, side
hung double swing door, comprising 2mm
thick M.S plates both side, 50mm x 50mm R.H.S as
A | frames, with steel door locks
| 900mm x 2100mm | NR | 1 |  | 0
DOORS AND WINDOWS :
| Carried to summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
FINISHES
The following are internally, unless otherwise
stated:
Wall Plastering and Rendering
Internal Wall
A | 12mm thick cement and sand (1:4mix) rendering on | m2 | 20 | 0 | 0
blockwall, columns and beams.
B | Ditto to Reveal not exceeding 200mm girth | m | 5 | 0 | 0
Floor finishings
Glazed porcelain tiles
600mm x 600mm x 8mm thick glazed vitrified ceramic floor
tiles laid on cement sand screeded bed (1:6) measured
C | seperately. | m2 | 5 | 0 | 0
D | 100mm high matching glaze porcelian tiles skirtings | m | 14 | 0 | 0
Cement Sand Screeded Bed
E | 32mm thick cement and sand (1:4mix) screeded bed. | m2 | 6 | 0 | 0
to receive floor tiles tiles
Ceramic wall tiles
300mm x 600mm x 6mm thick white ceramic glazed tiles tiles
F | wall tiles fixed with matching colour cement slurry | m2 | 106 | 0 | 0
(Ref: Toilets )
G | Reveal not less than 200mm wide | m | 59 | 0 | 0
Cement Sand Screeded Backings
H | 12mm thick cement and sand (1:4mix) screeded
| bed to receive wall tiles | m2 | 106 | 0 | 0
J | Reveal not less than 200mm wide | m | 59 | 0 | 0
A | 12mm thick cement and sand (1:6mix) rendering on | m | 3 | 0 | 0
on soffit of slab
Painting and Decorating
Prepare and apply two undercoat and two finishing
coat emulsional paint on:
B | Rendered surfaces of internal wall | m2 | 20 | 0 | 0
C | Reveal not exceeding 350mm girth | m | 69 | 0 | 0
External Finishings
D | 15mm thick cement and sand (1:6mix) rendering on | m2 | 20 | 0 | 0
blockwall, columns and beams.
E | Ditto soffit of slab, 12mm thick | m2 | 3 | 0 | 0
Painting and Decorating
Prepare and apply two mastic undercoat and two finishing
coat wheather proof emulsion paint:
F | Rendered surfaces of wall | m2 | 20 |  | 0
G | Ditto surffit of slab | m2 | 3 | 0 | 0
FINISHES :
| Carried to Summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
ELECTRICAL INSTALLATION
A | Allow a provisional sum of for all electrical installation |  |  | Sum
in the building;
ELECTRICAL INSTALLATION
| #REF! |  |  |  | 0
BILLS OF QUANTITIES FOR PROPOSED GATE HOUSE |  |  |  |  | AMOUNT ($)
USD
SUMMARY
SUMMARY
| SUBSTRUCTURE |  |  |  | 0
| FRAME |  |  |  | 0
| WALLS |  |  |  | 0
| ROOF |  |  |  | 0
| DOOR |  |  |  | 0
| FINISHES |  |  |  | 0
| ELECTRICAL INSTALLATIONS |  |  |  | 0
| TOTAL |  |  |  | 0

## OUTDOOR TOILET
OUTDOOR TOILET
ITEM | DESCRICPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
SUBSTRUCTURE
GROUND FLOOR
EXCAVATION AND EARTHWORKS
A | Excavate pit to receive bases of column (6no.); starting
| at striplevel; maximum depth not exceeding 1000mm | m3 | 8 | 0 | 0
B | Ditto to trenches starting at strip level; post maximum
| depth not exceeding 750m, foundation width not exceeding | m3 | 7 | 0 | 0
450mm.
C | Excavate pit for vault, starting from strip level
| Extra over excavation for Rocky Soil or any other |  |  | Item | 0
hard materials
Earthwork support
D | Earthwork support for vault pit, trenches and columns pit. | m3 | 68 | 0 | 0
FILLING & DISPOSING
E | Backfill and well ram selected excavated materials
| around foundations | m3 | 11 | 0 | 0
F | Dispose surplus excavated materials of site. | m3 | 4 | 0 | 0
| Filling the vault with river sand and compact to receive | m3 | 9 | 0 | 0
G | hardcores
0
H | 150mm thick filling to make up levels with latterite
| avearage depth consolidated in layer of 100mm to receive | m3 | 2 | 0 | 0
hardcore.
200mm thick Hardcore filling to make up levels
J | deposited and floor consolidated in layer of 100mm | m3 | 2 | 0 | 0
to receive concrete bed.
SURFACE TREATMENT
K | Level and compact bottom of excavations | m2 | 16 | 0 | 0
L | Blind Surface of hardcore; sand;minimum 50mm thick | m2 | 12 | 0 | 0
Apply anti-termite Treatment Solution to Sides &
M | Buttom of trench and Pits | m2 | 88 | 0 | 0
DAMP PROOF MEMBRANE
One layers of ''Visqueen'' or similar Polythene; 1000mm
N | guage membrane laid on hardcore over blockwall and | m2 | 7 | 0 | 0
lapped 150mm at sides and ends.
| To Collection |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
The total volumn of concrete in this section is
approximately m3
Plain In - situ Concrete
A | 75mm thick concrete (1:3:6) blinding in footing | m3 | 1 | 0 | 0
Plain insitu concrete (1:3:6) in foundation trenches
B | not exceeding 225mm maximum thickness | m3 | 2 | 0 | 0
C | Ramp and steps | m3 | 1 | 0 | 0
Vibrated reinforced in-situ concrete (1:2:4-12mm
aggregates) well packed around reinforcements in
formwork in:
D | Ground floor bed, 150mm thick. And | m3 | 2 | 0 | 0
150mm thick for ground floor
Columns
E | Isolated Column Bases (30no.), 300mm thick. And | m3 | 2 | 0 | 0
300mm for ground floor.
WIRE MESH
Fabric mesh reinforcement to BS 4483 with ref. no.
F | A142 weighing 2.221kg/m2 in concrete bed 150mm | kg | 16 | 0 | 0
minimum end and side laps.
REINFORCEMENT
High tensile steel reinforcement bar to B.S 4449 including cutting, bending and fixing into position in reinforced concrete in:
Columns
G | 12mm diameter bars column bases | kg | 75 | 0 | 0
H | 12mm diameter bars in sub-column | kg | 93 | 0 | 0
J | 8mm diameter bars as stirrups in Column | kg | 17 | 0 | 0
FORMWORK
Sawn form work to provide rough finish to:
K | Vertical Sides of Square Sub-Column | m2 | 4 | 0 | 0
L | Edges of Sub-Column Bases exceeding 300mm thick. | m2 | 9 | 0 | 0
M | Edges of floor slab 100mm thick | m | 17 | 0 | 0
| To Collection |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
BLOCK WORK
Solid Sandcrete blockwork laid in strecher bonds with
cement and sand mortar ( mix 1: 6) as described in:
A | 150mm thick | m2 | 27 | 0 | 0
IN-SITU FINISHINGS
B | Cement sand rendering to wall up to plinth level of
| 500mm high. | m2 | 5 | 0 | 0
C | Prepare and apply two mastic undercoat and two finishing
| coat wheather proof emulsion paint: | m2 | 5 | 0 | 0
0
| To Collection |  |  |  | 0
COLLECTIONS
| Page 2 |  |  |  | 0
| Page 3 |  |  |  | 0
| Page 4 |  |  |  | 0
SUBSTRUCTURE
| Carried to Summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
FRAME
The total volumn of concrete in this section is
approximately m3
Vibrated reinforced in-situ concrete (1:2:4-20mm
aggregates) well packed around reinforcements in
formwork in:
A | Column, beam, and lintel | m3 | 1 | 0 | 0
REINFORCEMENTS
High tensile steel bar reinforcement to BS 4449 in
straight and bent length including tying wires,
hooks and ordinary spacers: ( provisional )
Columns
B | 12mm diameter bars in column | kg | 70 | 0 | 0
C | 8mm diameter bars as stirups in columns | kg | 26 | 0 | 0
Beams
D | 12mm diameter bars in beams | kg | 63 | 0 | 0
E | 6mm diameter bars as stirups in beams | kg | 26 | 0 | 0
F | 6mm diameter bars as stirups in lintel | kg | 2 | 0 | 0
FORMWORK
Basic finish formwork to:
G | Vertical sides of square column | m2 | 8 | 0 | 0
H | Sides and soffit of beams | m2 | 7 | 0 | 0
J | Sides and soffit of lintels. | m2 | 3 | 0 | 0
FRAME:
| Carried to Summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
WALLS
External and Internal wall
Load and Non Load-Bearing Wall
Solid Sand crete block wall bedded and jointed in
cement and sand mortar laid in stretcher bond
as described in:
Non load Bearing Walls
A | 150mm thick block wall | m2 | 19 | 0 | 0
B | Ditto 120mm thick solid wall | m2 | 5 |  | 0
| WALLS: carried to summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
ROOF AND ROOF COVERING
WOODWORK
CARCASSING
The following in pitched roof Sawn treated hardwood
A | 50mm x 75mm Purlins | M | 20 |  | 0
B | 50mm x 150mm Tie Beam | M | 8 |  | 0
C | 50mm x 150mm Rafter | M | 10 | 0 | 0
D | 75mm x 100mm wall plate | M | 11 |  | 0
Wrought hardwood timber,treated with clear approved
E | wood preservative in 25mm x 225mm fascia board | m | 15 |  | 0
COVERINGS
0.45mm Corrugated coloured longspan aluminium roofing
F | sheets with a minimum of 1-corrugation and not exceeding | M2 | 15 |  | 0
300mm side lap as roof covering fixed to treated hardwood
| purlins (measured separately). |  |  |  | #REF!
#REF!
ROOF AND ROOF COVERINGS:-
| Carried to Summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
DOORS AND WINDOWS
Steel Plated Doors
2mm thick plates, standard section mild steel, side
hung double swing door, comprising 2mm
thick M.S plates both side, 50mm x 50mm R.H.S as
A | frames, with steel door locks
| 750mm x 2100mm | NR | 2 |  | 0
WINDOWS
ALUMINIUM SLIDING WINDOW
Supply and fix aluminium slidding windows complete
with natural anodized Aluminium frame, in 6mm thick
reflective glazing, mosquito net slide including cutting
and pinning to concrete or blockwork, in accordance with the
manufactural fixing details overall sizes:
B | 600mm x 600mm high | Nr | 2 |  | 0
DOORS AND WINDOWS :
| Carried to summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
FINISHES
The following are internally, unless otherwise
stated:
Wall Plastering and Rendering
Internal Wall
A | 12mm thick cement and sand (1:4mix) rendering on | m2 | 10 | 0 | 0
blockwall, columns and beams.
B | Ditto to Reveal not exceeding 300mm girth | m | 5 | 0 | 0
Floor finishings
Glazed porcelain tiles
600mm x 600mm x 8mm thick glazed ceramic floor
tiles laid on cement sand screeded bed (1:6) measured
C | seperately. | m2 | 12 | 0 | 0
D | 100mm high matching glaze porcelian tiles skirtings | m | 22 | 0 | 0
Cement Sand Screeded Bed
E | 32mm thick cement and sand (1:4mix) screeded bed. | m2 | 14 | 0 | 0
to receive floor tiles tiles
Ceramic wall tiles
300mm x 600mm x 6mm thick white ceramic glazed tiles tiles
F | wall tiles fixed with matching colour cement slurry | m2 | 26 | 0 | 0
(Ref: Toilets )
G | Reveal not less than 200mm wide | m | 15 | 0 | 0
Cement Sand Screeded Backings
H | 12mm thick cement and sand (1:4mix) screeded
| bed to receive wall tiles | m2 | 26 | 0 | 0
J | Reveal not less than 200mm wide | m | 15 | 0 | 0
| To Collection |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
Ceiling finishings
PVC CEILING
| Suspended 200mm wide white colour PVC ceiling strips | m2 | 4 |  | 0
A | and coners strips complete with all fixing accessories.
Noggins
B | 50mm x 75mm ceiling noggins fixed to ceiling joist with | m | 18 |  | 0
Painting and Decorating
Prepare and apply two undercoat and two finishing
coat emulsional paint on:
C | Rendered surfaces of internal wall | m2 | 10 | 0 | 0
D | Reveal not exceeding 350mm girth | m | 5 | 0 | 0
External Finishings
E | 12mm thick cement and sand (1:6mix) rendering on | m2 | 25 | 0 | 0
blockwall, columns and beams.
PVC CEILING
| Suspended 200mm wide white colour PVC ceiling strips | m2 | 9 | 0 | 0
F | and coners strips complete with all fixing accessories.
Noggins
G | 50mm x 75mm ceiling noggins fixed to ceiling joist with | m | 40 |  | 0
Painting and Decorating
Prepare and apply two mastic undercoat and two finishing
coat wheather proof emulsion paint:
H | Rendered surfaces of wall | m2 | 25 |  | 0
| To Collection |  |  |  | 0
COLLECTIONS
| Page 12 |  |  |  | 0
| Page 13 |  |  |  | 0
FINISHES :
| Carried to Summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
PLUMBING AND MECHANICAL INSTALLATION
SANITARY APPLIANCES
Suppy, assemble and fix the following:
White vitreous jaguar, low level WC suit comprising
pan with P-trap and heavy duty black seat and cover,
A | 9mm litre capacity cistern complete with all | Nr | 2 | 0 | 0
accessories.
B | Wash hand basin 520mm x 450mm with pedestal, faucet
| and screwing to concrete floor | Nr | 2 | 0 | 0
Nuovo dualflow tochfree infared hand dryer
C | (Product Code : HDR-SLV-AK2030) or any product | Nr | 2 | 0 | 0
as approved by architect.
D | 600mm long x 600mm wide silver floated mirror fixed | Nr | 2 | 0 | 0
with chromium plated dome headed screws to wall.
E | Wall mounted jaquar (push button) soap dispenser. | Nr | 2 | 0 | 0
capacity 0.8litre, ( Product Code SDR-WHT-DJOO1OFN)
0
F | Chromium plated toilet roll holder | Nr | 2 | 0 | 0
G | Stainless Floor drain, Toilet | Nr | 2 | 0 | 0
H | Allow the provisional sum for pipe |  |  | Sum
( soil and cold water pipes) fittings,and associated work
in plumbing installation
J | Allow a provisional for drainage of rain water from roof |  |  | sum
Sundries
Marking the positions of holes, mortices, chases and the
K | like, cutting away in the structure complete with making |  |  | sum
good after for cold water installation
PLUMBING AND MECHANICAL INSTALLATION
| :Carried to Summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
ELECTRICAL INSTALLATION
A | Allow a provisional sum of for all electrical installation |  |  | Sum
in the building;
ELECTRICAL INSTALLATION
| :Carried to Summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
MANHOLES
Allow for the construction of manholes size
A | 600mm x 600mm x 600mm deep with 150mm | Nr | 3 | 0 | 0
blockwall including concrete bed haunching and
100mm thick precast reinforced cover slab
B | Include the Provisional Sum of
| for soil drain pipes to septic tank/soakaway pits and |  |  | sum
chambers
| EXTERNAL WORKS Carried to summary |  |  |  | 0
BILLS OF QUANTITIES FOR PROPOSED OUTDOOR TOILET |  |  |  |  | AMOUNT ($)
USD
SUMMARY
SUMMARY
| SUBSTRUCTURE |  |  |  | 0
| FRAME |  |  |  | 0
| WALLS |  |  |  | 0
| ROOF |  |  |  | 0
| DOOR |  |  |  | 0
| FINISHES |  |  |  | 0
PLUMBING & MECHANICAL
INSTALLATION
| ELECTRICAL INSTALLATIONS |  |  |  | 0
| EXTERNAL WORKS |  |  |  | 0
| TOTAL |  |  |  | 0

## GENERAL SUMMARY
GENERAL SUMMARY
BILLS OF QUANTITIES FOR PROPOSED KONO BRANCH (FULL BUNGALOW) |  |  | AMOUNT ($)
SITUATED AT OLD YENGEMA ROAD, KONO |  |  | USD
GENERAL SUMMARY
| MAIN BUILDING |  | 0
| EXTERNAL WORK |  | 0
| OTHER WORKS (Generator Base, Water Tank Tower |  | 0
with Water Tank.)
| OUTDOOR TOILET |  | 0
| GATE HOUSE |  | 0
| TOTAL |  | 0
ADD
| Preliminaries |  | 0
| TOTAL |  | 0
ADD
| 5% For Contingencies |  | 0
| TOTAL |  | 0
ADD
| 15% For GST |  | 0
| GRAND TOTAL | (USD) | 0